## New List
Item No. | Code | Description | Brand/ Make | Part Type | Part No. | Stock | Price Refer | Unit Sell
1 | FLCILMX | T1C160 TMD25-500 3P F FC CU(1×70MM2)50°C | ABB | 1SDA053358R1 - 25A | 1SDA053358R1 - 25A | 4 | Pcs | 108
2 | FLCILMX | T1C160 TMD40-500 3P F FC CU(1×70MM2)50°C | ABB | 1SDA053360R1 - 40A | 1SDA053360R1 - 40A | 3 | Pcs | 108
3 | FLCILMX | T1C160 TMD100-1000 3PF FCCU(1×70MM2)50°C | ABB | 1SDA053364R1 - 100A | 1SDA053364R1 - 100A | 3 | Pcs | 112
4 | FLCILMX | AAC 900F Demo Case: including: TA 724FA1, CI 903F, PM 902F, DA 701F | ABB | 2PAA110417 | 2PAA110417 | 1 | Pcs | 6000
5 | FLCILMX | SD822 Power Supply Device 115/230V a.c Switch selectable, Output 24Vdc, 5A | ABB | 3BSC610038R1 | 3BSC610038R1 | 39 | Pcs | 214
6 | FLCILMX | SD833 Power Supply Device 115/230V a.c Switch selectable, Output 24Vdc, 10A | ABB | 3BSC610066R1 | 3BSC610066R1 | 6 | Pcs | 284
7 | FLCILMX | TU810V1 Module Termination Unit for DI810, DO810, AI845, AO845 | ABB | 3BSE013230R1 | 3BSE013230R1 | 12 | Pcs | 70
8 | FLCILMX | TU810V1, C010 - Compact module Termination Unit MTU, 50V 2x8 signal terminal, rated isol.50V Serial #: SL13513579 | ABB | 3BSE013230R1 | 3BSE013230R1 | 1 | Pcs | 88
9 | FLCILMX | TU841 Termination No-Redundant I/O | ABB | 3BSE020848R1 | 3BSE020848R1 | 13 | Pcs | 182
10 | FLCILMX | TU841, D097 - Termination Unit for 1+1 TB840. Support for non-Redundant I/O 1 Pc Power Supply Connector 1 Pc TB807 Module bus Terminator Serial No SC13432380 | ABB | 3BSE020848R1 | 3BSE020848R1 | 1 | Pcs | 212
11 | FLDNLIQX | Ethernet /IP 10/100 Mb/s: Commication Bridge 1756-ENBT | Allen Bradley | 13853 | 13853 | 3 | Pcs | 2172
12 | FLDNLIQX | Control Net: Communication Bridge 1756-CNBR/E | Allen Bradley | 49668 | 49668 | 4 | Pcs | 369
13 | FLDNLIQX | Mixed I/O 24VDC IN/RLY out 8PT (IC693MDR390C) | Allen Bradley | 9432026 | 9432026 | 1 | Pc | 238
14 | FLDNLIQX | Control Logix High Speed Counter Module 1756-HSC/A | Allen Bradley | 95713707 | 95713707 | 4 | Pcs | 1195
15 | FLDNLIQX | Flexbus: 5VDC,640mA, Terminal Block Rating 120VAC,10A - 1794-TB3 | Allen Bradley | 96145477 | 96145477 | 9 | Pcs | 183
16 | FLDNLIQX | Analog Input 10V - 4-20mA 6poimt input 1756-1F6I/A | Allen Bradley | 96186879 | 96186879 | 1 | Pc | 1711
17 | FLDNLIQX | Control Logix - Analog Isolated Input Thermocouple 6 point Input 1756-IT6I/A | Allen Bradley | 96187279 | 96187279 | 2 | Pcs | 2689
18 | FLDNLIQX | Relay Isol Output 16PT NO AC C300/DC R150 Pilot Duty 1756-OW16I | Allen Bradley | 96197677 | 96197677 | 1 | Pc | 468
19 | FLDNLIQX | DC Outpur 8PT 24VDC, 10-30VDC 2A, Pilot Duty 1756-0B8/A | Allen Bradley | 96257478 | 96257478 | 1 | Pc | 472
20 | FLDNLIQX | DC Input 16PT 24VDC, 10-31 24VDC 10mA 1756-1B16/A | Allen Bradley | 96258877 | 96258877 | 1 | Pc | 369
21 | FLDNLIQX | Flex I/O Ethernet/IP 10/100 Ethernet Adapter 1794-AENT | Allen Bradley | 96344080 | 96344080 | 4 | Pcs | 674
22 | FLDNLIQX | Flexbus: 5VDC,640mA, Terminal Block Rating 120VAC,10A - 1794-TB32 | Allen Bradley | 96385272 | 96385272 | 6 | Pcs | 190
23 | FLDNLIQX | Control Logix: Logox 555 1.5MB NON Volatile Memory Exp. 1756L55M23 | Allen Bradley | 96390674 | 96390674 | 1 | Pc | 8240
24 | FLDNLIQX | Power Supply AC 1756-PA72 | Allen Bradley | 96422271 | 96422271 | 1 | Pc | 934
25 | FLDNLIQX | Plug & Standard Cover 1756-TBNH A | Allen Bradley | 97297881 | 97297881 | 2 | Pcs | 70
26 | FLDNLIQX | Plug & Standard Cover 1756-TBCH A | Allen Bradley | 97297981 | 97297981 | 12 | Pcs | 83
27 | FLDNLIQX | SLC Analog Input Module 1746-NI8 | Allen Bradley | 1746-NI8 | 1746-NI8 | 1 | Pc | 936
28 | FLDNLIQX | SLC 500 DH485/RS232C Interface Module 1747-KE | Allen Bradley | 1747-KE | 1747-KE | 1 | Pc | 603
29 | FLDNLIQX | AC ISOL Input 16PT 240VAC 50/60Hz 13mA 1756-IM16I | Allen Bradley | 1756-IM16I | 1756-IM16I | 2 | Pcs | 616
30 | FLDNLIQX | Card Slot Filler 1756-N2 | Allen Bradley | 1756-N2 | 1756-N2 | 2 | Pcs | 19
31 | FLDNLIQX | Flex I/O 24 VDC Power Supply RIO Adapter 1974-ASB | Allen Bradley | 1974-ASB | 1974-ASB | 4 | Pcs | 619
32 | FLDNLIQX | Photo Switch Retroreflecive Sensor | Allen Bradley | 42GRU-9002 | 42GRU-9002 | 3 | Pcs | 122
33 | FLDNLIQX | Simulator Module IC693ACC300D | Allen Bradley | A450511 | A450511 | 1 | Pc | 262
34 | FLDNLIQX | Communicatin Module (Prosoft Tech) | Allen Bradley | MV156 | MV156 | 4 | Pcs | 2004
35 | General | Contact Switch maintained | APEM | A02501 | A02501 | 12 | Pcs | 4
36 | General | Contact Switch | APEM | A02503 | A02503 | 48 | Pcs | 4
37 | General | Contact Switch | APEM | A02504 | A02504 | 12 | Pcs | 4
38 | General | Contact Switch | APEM | A02508 | A02508 | 175 | Pcs | 4
39 | General | Position selection switch, knob type | APEM | A029307 | A029307 | 16 | Pcs | 28
40 | General | Linx Rs-232 to Rs 422/485 Converter with triple Insulation Serial No. 0129124003 | B & B Elec. | 485DRCI | 485DRCI | 1 | Pc | 167
41 | General | UTP Cables CAT-5E Yellow (305m) | Belden | 1583E | 1583E | 1120 | mtrs | 1
42 | General | UTP Cables CAT-5E Gray (305m) | Belden | 1583E | 1583E | 610 | mtrs | 1
43 | General | Fiber Express 1U Rack mounted (FX12RM) NOIR BLACK | BELDEN | AX100041 | AX100041 | 1 | Pcs | 225
44 | general | Flexible Wire 1.5mm² Yellow Green | Helukabel | 51769 | 51769 | 1 | Roll | 51
45 | general | Flexible Wire 1.5mm² Brown | Helukabel | 51771 | 51771 | 1 | Roll | 51
46 | general | Flexible Wire 2.5mm² Black | Helukabel | 51777 | 51777 | 1 | Roll | 80
47 | general | Flexible Wire 2.5mm² Yellow Green | Helukabel | 51778 | 51778 | 1 | Roll | 80
48 | general | Flexible Wire 2.5mm² Blue | Helukabel | 51779 | 51779 | 6 | Rolls | 80
49 | general | Flexible Wire 2.5mm² Brown | Helukabel | 51780 | 51780 | 5 | Rolls | 80
50 | general | Flexible Wire 6.0mm² Black | Helukabel | 51795 | 51795 | 1 | Roll | 162
51 | general | Flexible Wire 6.0mm² Yellow Green | Helukabel | 51796 | 51796 | 1 | Roll | 162
52 | general | Flexible Wire 6.0mm² Blue | Helukabel | 51797 | 51797 | 1 | Roll | 162
53 | general | Flexible Wire 6.0mm² Brown | Helukabel | 51798 | 51798 | 1 | Roll | 162
54 | general | Flexible Wire 6.0mm² Red | Helukabel | 51799 | 51799 | 1 | Roll | 162
55 | general | Flexible Wire 2.5mm² Red | Helukabel |  |  | 1 | Roll | 80 | Original Unit sell (@2018)
56 | hima | Z 7127/6217/C5/I/R2 Cable | HIMA | 93 6217500-5 | 93 6217500-5 | 1 | Pcs | 191.4 | 174
57 | hima | F 6705 2channel safety-related analog output module, SIL 3/ Cat.4 current 0/4…20 mA | HIMA | 98 1670502 | 98 1670502 | 19 | Pcs | 568.7 | 517
58 | hima | 80 107 Communication module, Ethernet (OPC) | HIMA | 98 4080107 | 98 4080107 | 1 | Pcs | 1191.3 | 1083
59 | hima | F 3322 16channel output module for binary and digital signals, 12W | HIMA | 98 4332202 | 98 4332202 | 10 | Pcs | 234.3 | 213
60 | hima | F 8628 Communication module, H41q, H51q Fieldbus communication Profibus-DP Slave functionality | HIMA | 98 4862802 | 98 4862802 | 13 | Pcs | 1157.2 | 1052
61 | hima | BV 7032 - 0.5 Systems H51q ↔ B 9302 | HIMA | 99 0000233 | 99 0000233 | 63 | Pcs | 45.1 | 41
62 | hima | H 4135A Safety-related amplifier in terminal case, SIL3/Kat.4, switching voltage 250 VAC / 220 VDC, safe isolation, with test socket | HIMA | 99 2413560 | 99 2413560 | 9 | Pcs | 85.8 | 78
63 | hima | H 4136 Safety-related relay amplifier in terminal case, SIL3 input voltage 48 VDC, switching voltage 250 VAC / 127 VDC, safe isolation | HIMA | 99 2413602 | 99 2413602 | 5 | Pcs | 94.6 | 86
64 | hima | K 7205 Fusing and current distribution, 63 A, 19 inches, 2 U high, with 18 circuit breaker slots, IP20 for up to 60 V DC | HIMA | 99 6720502 | 99 6720502 | 1 | Pc | 557.7 | 507
65 | hima | Z 7207/6217 Testing Connector for F6217 | HIMA | 99 9720702 | 99 9720702 | 2 | Pcs | 312.4 | 284
66 | FLCIPMX | 80 107 Communication module, Ethernet (OPC) | HIMA | 98 4080107 | 80107 | 1 | Pcs | 1291.4 | 1174
67 | FLCIPMX | Additional Power Supply | HIMA | 99 7009361 | B 9361 | 3 | Pcs | 2740.1 | 2491
68 | FLCIPMX | Data connection cable H51q<-->B 9302, L=5m | HIMA | 99 0000234 | BV 7032/5 | 1 | Pcs | 117.7 | 107
69 | FLCIPMX | Data connection cable H41,H51<-->PC, L=15m | HIMA | 99 0000260) | BV 7044/15 | 7 | Pcs | 160.6 | 146
70 | FLCIPMX | 8fold safety-related binary input module, SIL 3/RC 6/Cat.4 | HIMA | 98 4323702 | F 3237 | 14 | Pcs | 760.1 | 691
71 | FLCIPMX | 8fold safety-related output module, 48VDC or 24VDC, with line monitoring and | HIMA | 98 4334902 | F 3349 | 107 | Pcs | 1192.4 | 1084
72 | FLCIPMX | 8fold safety-related analogue input module RC 6 / SIL 3, for current and voltage | HIMA | 98 4621702 | F 6217 | 83 | Pcs | 867.9 | 789
73 | FLCIPMX | 4fold power distribution with miniature fuse | HIMA | 98 4713302 | F 7133 | 9 | Pcs | 233.2 | 212
74 | FLCIPMX | 2 Channel relay amplifier, Safety related, SIL4 | HIMA | 98 4032101 | 32101 | 3 | Pcs | 291.5 | 265
75 | FLCIPMX | Communication module, Fieldbus communication | HIMA | 98 4862865 | F 8628X | 10 | Pcs | 2046 | 1860
76 | FLCIPMX | Safety Related CPU latest OS Version V7.08 (0817), | HIMA | 98 4865065 | F 8650X | 8 | Pcs | 5434 | 4940
77 | FLCIPMX | Safety-related relay amplifier in terminal case, SIL3/ RC 6/ Cat.4 switching voltage | HIMA | 99 2413560 | H 4135A | 201 | Pcs | 122.1 | 111
78 | FLCIPMX | Fusing and current distribution, 150 A, 19 inches, 2 U high with 18 circuit breaker | HIMA | 99 6721402 | K 7214 | 5 | Pcs | 644.6 | 586
79 | FLCIPMX | Labelling field, 19 inch, 1 unit highwith 1 cable duct | HIMA | 78 1990004 | M 3443 | 7 | Pcs | 103.4 | 94
80 | FLCIPMX | LED cable plug, | HIMA | 93 3236100-5 | Z 7116/3236/C5 | 40 | Pcs | 143 | 130
81 | FLCIPMX | LED Cable plug, | HIMA | 93 6217400-5 | Z 7127/6217/C5/I | 80 | Pcs | 216.7 | 197
82 | FLCIPMX | LED cable plug | HIMA | 93 3349200-5 | Z 7150/3349/C5/48P2 | 50 | Pcs | 177.1 | 161
83 | hima | X-CB 008 05 CONNECTOR BOARD | Himax / HIMA | 98 5020066 | 98 5020066 | 9 | Pcs | 235.4 | 214
84 | hima | X-CA 005 01 15 System Cable (Single FAT) | Himax / HIMA | 98 5050704-15 | 98 5050704-15 | 22 | Pcs | 279.4 | 254
85 | hima | X-CA 002 01 15 System Cable (Sungle FTA) | Himax / HIMA | 98 5050707-15 | 98 5050707-15 | 2 | Pcs | 205.7 | 187
86 | hima | X-CA 009 01 8 SYSTEM CABLE | Himax / HIMA | 98 5050752-8 | 98 5050752-8 | 9 | Pcs | 463.1 | 421
87 | hima | X-FTA 007 02L FIELD Termination ASSY | Himax / HIMA | 98 5230013 | 98 5230013 | 7 | Pcs | 492.8 | 448
88 | honeywell | Oep Adapter Z-Console Ikb No Pwr cord (TP-OPADPI-301) | Honeywell | 51195195-347 | 51195195-347 | 6 | Pcs | 800
89 | honeywell | UTP Cable C300 (Tpnb Lan A Cable (5M) | Honeywell | 51305482-105 | 51305482-105 | 3 | Pcs | 79
90 | honeywell | UTP Cable C300 (Tpnb Lan A Cable (10M) | Honeywell | 51305482-110 | 51305482-110 | 1 | Pc | 114
91 | honeywell | UTP Cable C300 (Tpnb Lan B Cable (5M) | Honeywell | 51305482-205 | 51305482-205 | 3 | Pcs | 79
92 | honeywell | UTP Cable C300 (Stp Cat5 Crossover Cable (2Mt) | Honeywell | 51305786-502 | 51305786-502 | 4 | Pcs | 42
93 | honeywell | UTP Cable C300 (Cable 100-Base-T Short 84In) | Honeywell | 51305980-284 | 51305980-284 | 83 | Pcs | 27
94 | honeywell | Lcn Coax Cbl Set 8M | Honeywell | 51308112-008 | 51308112-008 | 4 | Pcs | 589
95 | honeywell | Circuit Breaker Assy & Wiring | Honeywell | 51403902-100 | 51403902-100 | 16 | Pcs | 1622
96 | honeywell | PWA Module Hart HLAI G3 Ce Cc | Honeywell | CC-PAIH01 | CC-PAIH01 | 2 | Pcs | 5352
97 | honeywell | AI Hart (16) Module | Honeywell | CC-PAIH01 | CC-PAIH01 | 1 | Pc | 5352
98 | honeywell | Module LLAMUX G3 CE Cc | Honeywell | CC-PAIM01 | CC-PAIM01 | 2 | Pcs | 3146
99 | honeywell | AO Hart (16) Module | Honeywell | CC-PAOH01 | CC-PAOH01 | 1 | Pc | 6875
100 | honeywell | AO Hart (16) Module | Honeywell | CC-PAOH01 | CC-PAOH01 | 1 | Pc | 6875
101 | honeywell | PWA Module C300 Control Processor | Honeywell | CC-PCNT01 | CC-PCNT01 | 3 | Pcs | 22745
102 | honeywell | PWA Module DI 24V IO G3 Ce Cc | Honeywell | CC-PDIL01 | CC-PDIL01 | 1 | Pcs | 2517
103 | honeywell | PWA Module DI 24V IO G3 Ce Cc | Honeywell | CC-PDIL01 | CC-PDIL01 | 1 | Pc | 2517
104 | honeywell | PWA Module DISOE 24V Assy G3 | Honeywell | CC-PDIS01 | CC-PDIS01 | 1 | Pcs | 4085
105 | honeywell | Module DO 24V IO G3 Ce Cc | Honeywell | CC-PDOB01 | CC-PDOB01 | 7 | Pcs | 4018
106 | honeywell | Module DO 24V IO G3 Ce Cc | Honeywell | CC-PDOB01 | CC-PDOB01 | 1 | Pc | 4018
107 | honeywell | Redundant Power Supply for C300 | Honeywell | CC-PW RR01 | CC-PW RR01 | 2 | Sets | 10119
108 | honeywell | Redundant Power Supply for C300 | Honeywell | CC-PWR-R01 | CC-PWR-R01 | 2 | Pcs | 10119
109 | honeywell | PWA PMIO LLMUX IOTA 64 PT Ce Ce | Honeywell | CC-TAIM01 | CC-TAIM01 | 1 | Pcs | 1134
110 | honeywell | PWA AI IOTA RED 16 12IN Ce Cc | Honeywell | CC-TAIX11 | CC-TAIX11 | 1 | Pcs | 1166
111 | honeywell | PWA AI IOTA RED 16 12IN Ce Cc | Honeywell | CC-TAIX11 | CC-TAIX11 | 1 | Pc | 1166
112 | honeywell | PWA AO IOTA 16 6IN Ce Cc | Honeywell | CC-TAOX01 | CC-TAOX01 | 1 | Pcs | 1232
113 | honeywell | PWA, AI IOTA RED 16 12IN CE CC | Honeywell | CC-TAOX11 | CC-TAOX11 | 1 | Pc | 1166
114 | honeywell | PWA C300 Control Processor IOTA Cc | Honeywell | CC-TCNT01 | CC-TCNT01 | 1 | Pcs | 804
115 | honeywell | PWA C300 Control Processor IOTA Cc | Honeywell | CC-TCNT01 | CC-TCNT01 | 1 | Pc | 804
116 | honeywell | PWA DI 24Vac IOTA 32 | Honeywell | CC-TDIL01 | CC-TDIL01 | 1 | Pcs | 2279
117 | honeywell | PWA DI 24V IOTA RED 32 | Honeywell | CC-TDIL11 | CC-TDIL11 | 1 | Pc | 2279
118 | honeywell | PWA DO 24V Buss IOTA RED 32 | Honeywell | CC-TDOB11 | CC-TDOB11 | 1 | Pc | 1489
119 | honeywell | 1 GB Memory Module (HYNIX) 1Rx8 | Honeywell | DC3-10600E | DC3-10600E | 22 | Pcs | 209
120 | honeywell | DO module 24 Vdc 0.1A 16 ch CC | Honeywell | FC-DO-1624 | FC-DO-1624 | 2 | Pcs | 1007
121 | honeywell | Termination Board DO | Honeywell | FC-GPCS-SDO08-PF | FC-GPCS-SDO08-PF | 11 | Pcs | 372
122 | honeywell | Safe HDAI module 24 Vdc 16 ch CC | Honeywell | FC-SAI-1620 | FC-SAI-1620 | 4 | Pcs | 3973
123 | honeywell | FS HD Analog IPP MOD (24 VDC 16 CH) | Honeywell | FC-SAI-1620M | FC-SAI-1620M | 1 | Pc | 3973
124 | honeywell | Safe DO module 24 VDC 0.55A 8ch CC | Honeywell | FC-SDO-0824 | FC-SDO-0824 | 7 | Pcs | 1448
125 | honeywell | FS DGTL O/P MOD (24Vdc, 0.55A 8 CH) | Honeywell | FC-SDO-0824 | FC-SDO-0824 | 1 | Pc | 1448
126 | honeywell | DO FTA 24 Vdc, 16CH CC | Honeywell | FC-TDO-1624 | FC-TDO-1624 | 17 | Pcs | 293
127 | honeywell | Safe DI FTA 25 Vdc 16ch CC | Honeywell | FC-TSDI-1624 | FC-TSDI-1624 | 8 | Pcs | 325
128 | honeywell | DO (Relay) FTA for SIL3 appl. 8ch CC | Honeywell | FC-TSRO-0824 | FC-TSRO-0824 | 20 | Pcs | 1232
129 | honeywell | DIG O/P (Relay) FTA for AK5/6 APP (8CH) | Honeywell | FC-TSRO-0824 | FC-TSRO-0824 | 1 | Pc | 1232
130 | honeywell | Comm. Cable B/W DCOM-CPCHAS | Honeywell | FS-Cci-UNI-02 | FS-Cci-UNI-02 | 8 | Pcs | 166
131 | honeywell | TYCO Cable (Multi Core) | Honeywell | FS-SICC-0001/L10 | FS-SICC-0001/L10 | 10 | Pcs | 284
132 | honeywell | TYCO Cable (Multi Core) | Honeywell | FS-SICC-0001/L15 | FS-SICC-0001/L15 | 20 | Pcs | 284
133 | honeywell | Terminal Assembly DO-Lamp (Weidmuller) 1221590000 | Honeywell | FTA-C300-32DO-LD-S | FTA-C300-32DO-LD-S | 6 | Pcs | 151
134 | honeywell | Analogue Input. HIC 2025 (Pepperl + Puchs) | Honeywell | HIC2025 | HIC2025 | 8 | Pcs | 215
135 | honeywell | 1 GB Memory Module (KTD) | Honeywell | KTD-PE313E/16 | KTD-PE313E/16 | 11 | Pcs | 209
136 | honeywell | 1 GB Memory Module (SAMSUNG) | Honeywell | M391B2873KHO | M391B2873KHO | 4 | Pcs | 209
137 | honeywell | Curved Base Alignment kit | Honeywell | MP-MMEP51-100 | MP-MMEP51-100 | 21 | Boxes | 1187
138 | honeywell | Dual Port NIC | Honeywell | NE-NICS02-100 | NE-NICS02-100 | 6 | Pcs | 565
139 | honeywell | LCD KVM Switch (CL5708M) with standard rack mounted Kit (ATEN- 17" LCD) | Honeywell | TP-KVM CB 2-100 | TP-KVM CB 2-100 | 1 | Pcs | 4536
140 | honeywell | Digital Output. (HIC2871) | Honeywell (P&F) | 185538 | 185538 | 298 | Pcs | 184
141 | honeywell | ANALOG INPUT MODULE BARRIER (HIC2025) | Honeywell (P&F) | 185539 | 185539 | 87 | Pcs | 215
142 | honeywell | Isolated Barrier Digital Input (HIC2851) | Honeywell (P&F) | 198449 | 198449 | 131 | Pcs | 292
143 | honeywell | Mother / Termination Board 32 CHANNEL DIGITAL (SC-GPCD-DI32-PF) | Honeywell (P&F) | 209350 | 209350 | 6 | Pcs | 372
144 | honeywell | Mother / Termination Board DI (FC-GPCS-SDI16-PF) | Honeywell (P&F) | 209354 | 209354 | 26 | Pcs | 372
145 | honeywell | DIGITAL INPUT MODULE BARRIER (HIC2822) | Honeywell (P&F) | 216690 | 216690 | 127 | Pcs | 163
146 | General | 50 Way Male Cable Connection | L-Com | CSMN50MM-10 | CSMN50MM-10 | 8 | Pkts | 83
147 | general | Blind Flange (1") | Local Brand |  |  | 5 | Pcs | 6
148 | general | Blind Flange (1/2") | Local Brand |  |  | 2 | Pcs | 8
149 | general | Blind Flange (2") | Local Brand |  |  | 6 | Pcs | 11
150 | general | Blind Flange (3") | Local Brand |  |  | 2 | Pcs | 14
151 | general | Blind Flange (3/4") | Local Brand |  |  | 1 | Pcs | 6
152 | general | Blind Flange (4") | Local Brand |  |  | 1 | Pcs | 17
153 | general | Blind Flange (6") | Local Brand |  |  | 2 | Pcs | 20
154 | general | SS CHAIN U-CLAMP / D-Shackle 5/8" | Local Brand |  |  | 5 | PCS | 8
155 | general | CHAIN HOOK | Local Brand |  |  | 24 | PCS | 9
156 | UNAQSTX | KFD2-UT2-Ex2 | Pepperl & Fuchs | 117073 | 117073 | 71 | Pcs | 189
157 | UNAQSTX | KFD2-STC4-Ex1 | Pepperl & Fuchs | 122580 | 122580 | 21 | Pcs | 122
158 | UNAQSTX | F2DO-FB-EX4.CGS | Pepperl & Fuchs | 127075 | 127075 | 2 | Pc | 1122
159 | UNAQSTX | HD2-FBPS-1.500 | Pepperl & Fuchs | 130139 | 130139 | 2 | Pcs | 235
160 | UNAQSTX | HD2-DM-B | Pepperl & Fuchs | 131001 | 131001 | 3 | Pcs | 76
161 | UNAQSTX | KFD2-STC4-Ex2 | Pepperl & Fuchs | 132952 | 132952 | 73 | Pcs | 144
162 | UNAQSTX | KFD2-SR2-EX2.W | Pepperl & Fuchs | 132960 | 132960 | 6 | Pcs | 43
163 | UNAQSTX | KFD2-SR2-EX2.2S | Pepperl & Fuchs | 181284 | 181284 | 1 | Pc | 43
164 | UNAQSTX | KFD2-SL-4 | Pepperl & Fuchs | 112730S | 112730S | 6 | Pcs | 264
165 | UNAQSTX | KFD2-SL2-Ex2 | Pepperl & Fuchs | 184258 | 184258 | 2 | Pcs | 118
166 | UNAQSTX | KCD2-SR-EX2 | Pepperl & Fuchs | 185533 | 185533 | 7 | Pcs | 156
167 | UNAQSTX | KCDO-SD-EX1.1245 | Pepperl & Fuchs | 185534 | 185534 | 2 | Pcs | 145
168 | UNAQSTX | KCD2-STc-Ex1 | Pepperl & Fuchs | 185535 | 185535 | 156 | Pcs | 172
169 | UNAQSTX | KFD2-EB.R2A.B | Pepperl & Fuchs | 041255 | 041255 | 1 | Pc | 123
170 | UNAQSTX | KFD2-EB2 | Pepperl & Fuchs | 043546 | 043546 | 5 | Pcs | 76
171 | UNAQSTX | KFD2-EB.R4A.B | Pepperl & Fuchs | 044151 | 044151 | 1 | Pc | 45
172 | UNAQSTX | KFDO-CC-1 | Pepperl & Fuchs | 38310S | 38310S | 21 | Pcs | 202
173 | UNAQSTX | KFDO-RO-Ex2 | Pepperl & Fuchs | 38975S | 38975S | 18 | Pcs | 199
174 | UNAQSTX | CMCMR/N-21 CBB | Pepperl & Fuchs | CMCMR x121 CBB | CMCMR x121 CBB | 1 | Pc | 235
175 | UNAQSTX | KFD2-SCD2-1.LK | Pepperl & Fuchs | KFD2-SCD2-1.LK | KFD2-SCD2-1.LK | 7 | Pcs | 92
176 | UNAQSTX | KFD2-Sl2-Ex1.LK (Please refer to comment box for Part No) | Pepperl & Fuchs | KFD2-Sl2-Ex1.LK | KFD2-Sl2-Ex1.LK | 16 | Pcs | 83
177 | UNAQSTX | HART® usb Interface | Pepperl & Fuchs | US-H1-321 | US-H1-321 | 1 | Pc | 35
178 | UNAQSTX | Power Rail | Pepperl + Fuchs | UPR-03 | UPR-03 | 2 | Lengths | 48
179 | general | Power Supply,, 100-240Vac/48Vdc, 10A | Pheonix Contact | 2938248 | 2938248 | 9 | Pcs | 527
180 | UNAQSTX | KLM-A, Label Carrier small,Pack of 100 | Phoenix Contact | 1004348 | 1004348 | 1600 | Pcs | 1
181 | UNAQSTX | E/UK, End Stopper,Pack of 50 | Phoenix Contact | 1201442 | 1201442 | 377 | Pcs | 1
182 | UNAQSTX | SubCon-Plus-Profib (Connectore) | Phoenix Contact | 2744348 | 2744348 | 4 | Pcs | 47
183 | UNAQSTX | PSM-ME-RS232/RS485P Converter | Phoenix Contact | 2744416 | 2744416 | 4 | Pcs | 377
184 | UNAQSTX | Quint-PS-1AC/24DC/40, Power Supply Unit | Phoenix Contact | 2866789 | 2866789 | 4 | Pcs | 561
185 | UNAQSTX | ELCO Board UMK-EC90/32/EXX/XUR | Phoenix Contact | 2975816 | 2975816 | 4 | Pcs | 138
186 | UNAQSTX | UMK 56/56 XOL,Termination Board,Elco Board | Phoenix Contact | 2975890 | 2975890 | 68 | Pcs | 152
187 | UNAQSTX | UMK 56/56 XOR,Termination Board,Elco Board | Phoenix Contact | 2975900 | 2975900 | 10 | Pcs | 152
188 | UNAQSTX | D-UK 2.5, End Plate Cover,Pack of 50 | Phoenix Contact | 3001022 | 3001022 | 11 | Pkts | 19
189 | UNAQSTX | UK 2.5N, Feed Through Terminal Block,Pack of 50 | Phoenix Contact | 3003347 | 3003347 | 26 | Pcs | 1
190 | UNAQSTX | UK 5-HESI,Fuse Terminal Block, Pack of 50 | Phoenix Contact | 3004100 | 3004100 | 800 | Pcs | 2
191 | UNAQSTX | UK-6N,Feed Through Terminal Block, Pack of 50 | Phoenix Contact | 3004524 | 3004524 | 274 | Pcs | 2
192 | UNAQSTX | Terminal Block UT 10 PE | Phoenix Contact | 3044173 | 3044173 | 39 | Pcs | 3
193 | UNAQSTX | UT 4-MTD-DIO, Component Terminal Block | Phoenix Contact | 3046236 | 3046236 | 378 | Pcs | 3
194 | UNAQSTX | D-MTK 2.5, End Plate Cover, Pack of 50 | Phoenix Contact | 3101029 | 3101029 | 4 | Pkts | 39
195 | UNAQSTX | D-MTK BU,End Plate Cover,Pack Of 50 | Phoenix Contact | 3101090 | 3101090 | 20 | Pcs | 0.78
196 | UNAQSTX | MTK 2.5 BU, Disconnect Terminal Block,Pack of 50 | Phoenix Contact | 3101197 | 3101197 | 1796 | Pcs | 3
197 | UNAQSTX | EBS-10-8,Link Bar,Pack of 10 | Phoenix Contact | 3118135 | 3118135 | 63 | Pkts | 22
198 | UNAQSTX | FBI 10-8, Screw In Cross Connection,Pack of 10 | Phoenix Contact | 203263 | 203263 | 117 | Pkts | 29
199 | UNAQSTX | FBI 10-10, Screw In Cross Connection,Pack of 10 | Phoenix Contact | 203276 | 203276 | 2 | Pkts | 4
200 | UNAQSTX | AB-SS, Screen Bar Holder,Pack of 10 | Phoenix Contact | 404428 | 404428 | 20 | Pcs | 1
201 | UNAQSTX | USLKG 2.5N, PE terminal Block,Pack of 50 | Phoenix Contact | 0441025 | 0441025 | 1300 | Pcs | 2
202 | UNAQSTX | USLKG-6N, PE Terminal Block,Pack of 50 | Phoenix Contact | 442079 | 0442079 | 98 | Pcs | 2
203 | UNAQSTX | UBE/D, Label Carrier Big, Pack of 10 | Phoenix Contact | 800307 | 800307 | 291 | Pcs | 1
204 | UNAQSTX | UC-TM 10,Terminal Number, Pack of 10 | Phoenix Contact | 818069 | 818069 | 40 | Pcs | 1
205 | UNAQSTX | UC-TM 6, Terminal Marker, Pack of 10 | Phoenix Contact | 818085 | 818085 | 329 | Pcs | 1
206 | UNAQSTX | FL switch SF 14TX/2FX Serial No. 98102855 | Phoenix Contact | 2832593 | 2832593 | 1 | Pc | 376
207 | UNAQSTX | Cable Connection D37Sub/B/B 1000 KONFEK1S | Phoenix Contact | 2900762 | 2900675 | 6 | Pcs | 235
208 | General | Four Pole Grip type support, | Rittal | 44GS207/211 | 44GS207/211 | 23 | Box | 23
209 | General | Brackets | Rittal | TS 8800.330 | TS 8800.330 | 18 | Pkt | 53
210 | General | Roof Plate for Cable entry | Rittal | 7826.588 | 7826.588 | 1 | Box | 511
211 | General | Base Plinth, front and Rear (1200) | Rittal | 8601.200 | 8601.2 | 2 | Sets | 100
212 | General | Telescopic Slides (2pcs/Pkt) | Rittal | DK 7061.000 | DK 7061.000 | 7 | Pcs | 56
213 | general | Cable Clamps for C Rail,6-14mmØ, Pack of 25 | Rittal | DK 7077.000 | DK 7077.000 | 3 | Boxes | 4
214 | general | Cable Clamps for C Rail,12-18mmØ, Pack of 25 | Rittal | DK 7078.000 | DK 7078.000 | 3 | Boxes | 4
215 | general | Teleskopic Slides, Pack of 2 | Rittal | DK 7081.000 | DK 7061.000 | 7 | Boxes | 59
216 | general | Cable Clamps for C Rail,18-22mmØ, Pack of 25 | Rittal | DK 7097.000 | DK 7097.000 | 3 | Boxes | 5
217 | general | Cable Clamps for C Rail,22-26mmØ, Pack of 25 | Rittal | DK 7097.220 | DK 7097.220 | 3 | Boxes | 6
218 | General | Component shelf 2 U, static installation, 482.6mm (19")/535mm (metric) | Rittal | DK 7119.250 | DK 7119.250 | 1 | Pc | 30
219 | general | Component Shelf,409W x 300Depth RAL7035 | Rittal | DK 7143.035 | DK 7143.035 | 2 | Boxes | 168
220 | General | Angle Bracket (12pcs./Box) | Rittal | PS 4181 | PS 4181 | 27 | Boxes | 20
221 | General | Component Shelf for fastening to the frame | Rittal | DK 7145.035 | DK 7145.035 | 7 | Pcs | 49
222 | General | Component Shielf | Rittal | DK 7145.735 | DK 7145.735 | 2 | Boxes | 44
223 | general | Blanking panel, 482.6mm (19") 1.5U (2pcs/pkt) | Rittal | DK 7157.035 | DK 7157.035 | 14 | Boxes | 27
224 | general | Cable Support | Rittal | DK 7163.550 | DK 7163.550 | 8 | Boxes | 53
225 | General | Two-part component shelves, w/ telescopic pull-out for TS/FR | Rittal | DK 7183.215 | DK 7183.215 | 1 | Pc | 249
226 | General | Component Shelf for fastening to the frame | Rittal | DK 7184.035 | DK 7184.035 | 2 | Pcs | 47
227 | general | Component Shelf,500Depth x 29Height (Slotted) | Rittal | DK 7185.035 | DK 7185.035 | 5 | Pcs | 47
228 | general | Socket Strips 230V | Rittal | DK 7404.000 | DK 7404.000 | 2 | Box | 79
229 | General | Depth Stay | Rittal | DK 7698.000 | DK 7698.000 | 15 | Pcs | 17
230 | General | Component Shelf | Rittal | DK 7828.880 | DK 7828.880 | 2 | Boxes | 30
231 | General | Viewing Window | Rittal | FT 2793560 | FT 2793560 | 1 | Pc | 277
232 | general | PS Punched Rails 23x23mm for TS,ES, Pack of 12 | Rittal | PS 4171.000 | PS 4171.000 | 1 | Box | 45
233 | General | Punch Rail (12/box) | Rittal | PS 4172 | PS 4172 | 11 | Boxes | 4
234 | general | PS Punched Rails 23x23mm, Pack of 12 | Rittal | PS 4173.000 | PS 4173.000 | 2 | Boxes | 16
235 | general | Angle Bracket (12pcs./Box) | Rittal | PS 4181.000 | PS 4181.000 | 27 | Boxes | 20
236 | general | Support bracket PS (mounting Punched Section w/o flange) Pack of 24 | Rittal | PS 4183 | PS 4183 | 4 | Boxes | 76
237 | General | Cable Clamp rails (2pcs/Pkt) | Rittal | PS 4191.000 | PS 4191.000 | 3 | Boxes | 32
238 | General | Connection cable for Light with 5mtrs Cable | Rittal | PS 4315.100 | PS 4315.100 | 6 | Pcs | 19
239 | general | Cable Entry Bushes, pack of 20 | Rittal | PS 4318.000 | PS 4318.000 | 7 | Boxes | 112
240 | General | Cable Entry Plate (2pcs./Pkt) | Rittal | PS 4321.700 | PS 4321.700 | 11 | pack | 35
241 | general | PS Punched Section with mounting Flange 23x73mm, Pack of 4 | Rittal | PS 4370.000 | PS 4370.000 | 9 | Boxes | 43
242 | general | PS punched section w/out mounting flange 23 x 73mm (4pcs./Box) | Rittal | PS 4377.000 | PS 4377.000 | 4 | Boxes | 54
243 | general | PS punched section w/out mounting flange 23 x 73mm (4pcs./Box) | Rittal | PS 4380.000 | PS 4380.000 | 8 | Pkts | 432
244 | general | Combination Angle (4pcs./Box) | Rittal | PS 4540.000 | PS 4540.000 | 10 | Boxes | 20
245 | General | Baying Brackets Pack of 4 | Rittal | PS 4582.500 | PS 4582.500 | 20 | Boxes | 20
246 | general | U Nuts M4, Pack of 20 | Rittal | PS/ES 4119 | PS/ES 4119 | 7 | Pkts | 5
247 | general | U Nuts M5, Pack of 20 | Rittal | PS/ES 4157 | PS/ES 4157 | 33 | Pkts | 5
248 | general | Internal Hygrostat | Rittal | SK 3118.000 | SK 3118.000 | 3 | Pcs | 79
249 | general | Roof Mounted Fan, Roof Vent,115Vac,50/60Hz,48W, RAL7032 | Rittal | SK 3169.000 | SK 3169.000 | 4 | Pcs | 36
250 | general | Roof Mounted Fan, Roof Vent,115Vac,50/60Hz,65W, RAL7035 | Rittal | SK 3169.007 | SK 3169.007 | 1 | Pc | 38
251 | general | Outlet Filter, RAL7035 | Rittal | SK 3240.200 | SK 3240.200 | 1 | Pcs | 55
252 | general | Fan and Filter Unit,230Vac,50/60Hz,19/18W,RAL 7035 | Rittal | SK 3322.107 | SK 3322.107 | 5 | Pcs | 191
253 | General | Fan & Filter Unit - Door Mounted Fan | Rittal | SK 3323.100 | SK 3323.100 | 1 | Pc | 130
254 | general | Fan and Filter Unit,230Vac,50/60Hz,19/18W,RAL 7035 | Rittal | SK 3323.107 | SK 3323.107 | 4 | Pcs | 101
255 | general | Fan and Filter Unit, 230Vac,50/60Hz, RAL7032 | Rittal | SK 3323.115 | SK 3323.115 | 3 | Pcs | 138
256 | General | Outlet Filter (RAL 7032) | Rittal | SK 3323.200 | SK 3323.200 | 3 | Pcs | 31
257 | general | Fan and Filter Unit (door Mounted Fan) | Rittal | SK 3325.117 | SK 3325.117 | 7 | Boxes | 130
258 | general | Outlet Filter | Rittal | SK 3325.200 | SK 3325.200 | 10 | Pcs | 94
259 | General | Enclosure Cooling System (check) | Rittal | SK 3368.230 | SK 3368.230 | 1 | Pc | 192
260 | general | Filter unit RAL 7035 | Rittal | SK3325.207 | SK3325.207 | 20 | Pcs | 10
261 | General | Chassis Guides (10pcs./Box) | Rittal | SR 1962.200 | SR 1962.200 | 17 | Pcs | 27
262 | general | Door Stay, Pack of 5 | Rittal | SR 1979.000 | SR 1979.000 | 10 | Boxes | 34
263 | general | Cable Clamps fpr Cable Clamp rails,46-50mmØ, Pack of 25 | Rittal | SZ 2360.000 | SZ 2360.000 | 4 | Boxes | 7
264 | General | Multitooth Screw M6x12, Pack of 300 | Rittal | SZ 2504.500 | SZ 2504.500 | 21 | Pkt | 61
265 | general | Socket for Power Supply Through Wiring, Pack of 5 | Rittal | SZ 2507.100 | SZ 2507.100 | 18 | Pkts | 28
266 | general | Document Pocket A3 | Rittal | SZ 2513.000 | SZ 2513.000 | 1 | Pcs | 7
267 | general | Tube Fixing Bracket2 48mm Ø Pack of 20 | Rittal | SZ 2592.000 | SZ 2592.000 | 13 | Boxes | 8
268 | General | SZ 4138.150 | Rittal | SZ 4138.150 | SZ 4138.150 | 2 | Pcs | 97
269 | general | Courtesy Light, 100-240Vac,50/60Hz,14W | Rittal | SZ 4139.140 | SZ 4139.140 | 3 | Pcs | 33
270 | general | Baying Brackets, Pack of 4 | Rittal | TS 4582.500 | TS 4582.500 | 19 | Boxes | 20
271 | General | Support Strip (for Door) (20/Box) | Rittal | TS 4598.000 | TS 4598.000 | 195 | Pcs | 11
272 | General | Base/Plinth trim | Rittal | TS 8602.080 | TS 8602.080 | 2 | Boxes | 42
273 | general | Side Panel Screw fastened IP55-800mm RAL 7035 Pack of 2 | Rittal | TS8108.235 | TS8108.235 | 19 | Sets | 112
274 | General | Comfort Handle (RAL 7032) | Rittal | TS 8611.010 | TS 8611.010 | 9 | Pcs | 37
275 | General | Comfort Handle (RAL 7035) | Rittal | TS 8611.020 | TS 8611.020 | 4 | Pcs | 38
276 | General | Comfort Handle (RAL 7035) | Rittal | TS 8611.070 | TS 8611.070 | 2 | Pcs | 34
277 | general | TS Punched Section with Mounting Flange, 17x73mm (for the inner mounting Level), Pack of 4 | Rittal | TS 8612.080 | TS 8612.080 | 29 | Boxes | 62
278 | General | Cable Entry Plate (2pcs./Pkt) | Rittal | TS 8800.060 | TS 8800.060 | 1 | Pc | 25
279 | general | Cable Entry Plate (2pcs./Pkt) | Rittal | TS 8800.080 | TS 8800.080 | 6 | Boxes | 32
280 | general | Support Bracket TS 8800.330 (6pcs./Box) | Rittal | TS 8800.330 | TS 8800.330 | 18 | Boxes | 22
281 | General | Baying Cover Top (1pc./Pack) | Rittal | TS 8800.480 | TS 8800.480 | 6 | Pcs | 15
282 | General | Mounting kit for component shelves in TS | Rittal | TS 8800.580 | TS 8800.580 | 5 | Pcs | 21
283 | General | Trim Panel | Rittal | TS 8801.110 | TS 8801.110 | 1 | Pc | 62
284 | General | Cable Clamps for C Rail,12-18mmØ, Pack of 25 | Rittal |  |  | 75 | Pcs | 4
285 | General | Neutral Link Bar 1/2 Meter (20/box) | Rittal |  |  | 232 | Pcs | 6
286 | General | Back Cover (RAL 7035) 1200x2000 | Rittal |  |  | 10 | Pcs | 77
287 | general | PS Punched Rails 23x23mm for TS, ES, Pack of 12 | Rittal |  |  | 2 | Boxes | 16
288 | general | Base Plinth, Side Trim, RAl7035 | Rittal | TS8601.015 | TS8601.015 | 1 | Packs | 35
289 | schneider | Comb Busbar Cover Pack of 20 | Schneider Elect. | 14886 | 14886 | 2 | Pkts | 5
290 | schneider | Comb Busbar 2pole 2x48 poles, Pack of 2 | Schneider Elect. | 14892 | 14892 | 11 | Pkts | 17
291 | schneider | Miniature Circuit Breaker 2P, 10AB - 10Amps | Schneider Elect. | 24076 | 24076 | 6 | Pcs | 11
292 | schneider | Miniature Circuit Breaker 2P, 16AB - 16Amps | Schneider Elect. | 24077 | 24077 | 118 | Pcs | 11
293 | schneider | Miniature Circuit Breaker 2P, 16AC - 16Amps | Schneider Elect. | 24337 | 24337 | 113 | Pcs | 10
294 | schneider | Miniature Circuit Breaker 2P, 20AC - 20Amps | Schneider Elect. | 24338 | 24338 | 1 | Pcs | 10
295 | schneider | Miniature Circuit Breaker 2P, 32AC - 32Amps | Schneider Elect. | 24340 | 24340 | 7 | Pcs | 10
296 | schneider | Miniature Circuit Breaker 2P, 50AC - 50Amps | Schneider Elect. | 24342 | 24342 | 1 | Pcs | 12
297 | schneider | Auxiliary Contact NO+NC | Schneider Elect. | 26924 | 26924 | 176 | Pcs | 10
298 | schneider | Switch Disconnected Interpact INS125 3P 125A | Schneider Elect. | 28910 | 28910 | 1 | Pc | 59
299 | schneider | Extender front rotary Handle. INS 40-160 Interpact | Schneider Elect. | 28941 | 28941 | 4 | Boxes | 19
300 | schneider | Extender front rotary Handle. INS 320-630 Interpact | Schneider Elect. | 31052 | 31052 | 2 | Boxes | 40
301 | schneider | Modbus = PCMCIA Card | Schneider Elect. | TSX-XMBP100 | TSX-XABP100 | 5 | Pcs | 732
302 | schneider | Ethernet Gate way Connexium 24V~4W Serial No: 0033075218R | Schneider Elect. | TSXEG100 | TSXEG100 | 2 | Pc | 613
303 | schneider | Contact Elemet Switch | Schneider Elect. | ZB5 AZ104 | ZB5 AZ104 | 5 | Pcs | 16
304 | schneider | Metal Push Button Protective Cover | Schneider Elect. | ZBZ-1602 | ZBZ-1602 | 4 | Pcs | 31
305 | siemens | Fire Protection Equipment EB-33B | SIEMENS | 305-021153 | 305-021153 | 1 | Box | 533
306 | siemens | Fire Protection Equipment EB-33Box | SIEMENS | 310-021033 | 310-021033 | 1 | Box | 497
307 | siemens | Combusbar (MCB Link Bar) 4pins (10mm-75mm) | SIEMENS | 5ST3610 | 5ST3610 | 16 | Pcs | 5
308 | siemens | Combusbar (MCB Link Bar) 10pins (10mm-210mm) | SIEMENS | 5ST3612 | 5ST3612 | 10 | Pcs | 5
309 | siemens | Combusbar end Cover | SIEMENS | 5ST3750 | 5ST3750 | 41 | Pkts | 1
310 | siemens | Miniature Circuit Breaker, 5SX4204-7-C4A, 2P | SIEMENS | 5SX4204-7 | 5SX4204-7 | 13 | Pcs | 14
311 | siemens | Miniature Circuit Breaker, 5SX4225-7-D25A, 2P | SIEMENS | 5SX4225-7 | 5SX4225-7 | 5 | Pcs | 14
312 | siemens | Miniature Circuit Breaker, 5SX4206-7-D06A, 2P | SIEMENS | 5SX4206-7 | 5SX4206-7 | 3 | Pcs | 14
313 | siemens | Miniature Circuit Breaker, 5SX4210-D10A, 2P | SIEMENS | 5SX4210 | 5SX4210 | 7 | Pcs | 14
314 | siemens | Miniature Circuit Breaker, 5SX4216-7-C16A, 2P | SIEMENS | 5SX4216-7 | 5SX4216-7 | 18 | Pcs | 14
315 | siemens | Miniature Circuit Breaker, 5SX4220-7-D20A, 2P | SIEMENS | 5SX4220-7 | 5SX4220-7 | 3 | Pcs | 14
316 | siemens | Miniature Circuit Breaker, 5S4220-7RC | SIEMENS | 5SX4220-7RC | 5SX4220-7RC | 10 | Pcs | 14
317 | siemens | Miniature Circuit Breaker, 5SX4240-7-D40A, 2P | SIEMENS | 5SX4240-7 | 5SX4240-7 | 2 | Pcs | 18
318 | FLCIPMX | ET200M-RED.-BUNDLE | SIEMENS | 6ES7153-2AR03-0XA0 | 6ES7153-2AR03-0XA0 | 15 | Pcs | 760
319 | siemens | Simatic DP. Rail for ET 200M long for bus modules function: Insert/remove | SIEMENS | 6ES7195-1gc00-0XA0 | 6ES7195-1gc00-0XA0 | 6 | Pcs | 236
320 | siemens | SIEMENS DP, RAIL FOR ET200M 620MM LONG F. MAX. 5 BUS MODULE FUNCTION, INSERT REMOVE | SIEMENS | 6ES7195-1GG30-0XA0 | 6ES7195-1GG30-0XA0 | 3 | Pcs | 38
321 | FLCIPMX | RAIL FOR ET 200M | SIEMENS | 6ES7195-1GG30-0XA0 | 6ES7195-1GG30-0XA0 | 10 | Pcs | 62
322 | FLCIPMX | BUS UNIT FOR ET200M | SIEMENS | 6ES7195-7HB00-0XA0 | 6ES7195-7HB00-0XA0 | 80 | Pcs | 84
323 | siemens | Certificate of License , PCS 7 Industry Library V8.0 Runtime (IAS) | SIEMENS | 6DL5410-8AA08-0XL1 | 6DL5410-8AA08-0XL1 | 2 | Pcs | 817
324 | FLCIPMX | SM 321 DIGITAL INPUT MODULE | SIEMENS | 6ES7321-7BH01-0AB0 | 6ES7321-7BH01-0AB0 | 35 | Pcs | 292
325 | siemens | SIEMENS S7/PCS7, SM 322 DIGITAL OUTPUT MODULE, 16 DO, DC 24 V / 0,5A, CAPABLE OF DIAGNOSTICS, WIRE BREAK DETECTION TO 0 AND 1 SIGNAL, 1 X 40‐PIN, INTERFACE MODULE IM 153‐2 NECESSARY LKZ: DE | SIEMENS | 6ES7322-8BH01-0AB0 | 6ES7322-8BH01-0AB0 | 1 | Pcs | 700
326 | FLCIPMX | SM 322 DIGITAL OUTPUT MODULE | SIEMENS | 6ES7322-8BH10-0AB0 | 6ES7322-8BH10-0AB0 | 35 | Pcs | 721
327 | FLCIPMX | HART ANALOG INPUT SM 331 | SIEMENS | 6ES7331-7TF01-0AB0 | 6ES7331-7TF01-0AB0 | 100 | Pcs | 715
328 | FLCIPMX | HART ANALOG OUTPUT SM 332 | SIEMENS | 6ES7332-8TF01-0AB0 | 6ES7332-8TF01-0AB0 | 85 | Pcs | 956
329 | siemens | S7-300, FRONT CONNECTOR FOR SIGNAL MODULES WITH SCREW CONTACTS, 20-PIN LKZ: DE | SIEMENS | 6ES7392-1AJ00-0AA0 | 6ES7392-1AJ00-0AA0 | 63 | Pcs | 16
330 | siemens | S7-300,FRONT CONNECTOR 392 WITH SCREW CONTACTS, 40-PIN | SIEMENS | 6ES7392-1AM00-0AA0 | 6ES7392-1AM00-0AA0 | 15 | Pcs | 25
331 | FLCIPMX | AI8 HART MTA MODULE | SIEMENS | 6ES7650-1AA61-2XX0 | 6ES7650-1AA61-2XX0 | 90 | Pcs | 328
332 | FLCIPMX | AO8 HART MTA MODULE | SIEMENS | 6ES7650-1AB61-2XX0 | 6ES7650-1AB61-2XX0 | 35 | Pcs | 242
333 | FLCIPMX | DI16 MTA MODULE | SIEMENS | 6ES7650-1AC11-3XX0 | 6ES7650-1AC11-3XX0 | 30 | Pcs | 322
334 | siemens | SIEMENS SIMATIC PCS7, RED., DO MTA MARSHALLING TERMINATION ASSEMBLY FOR REDUNDANT CONNECTION OF ET200M MODULE 6ES7322-8BH01-0AB0, 16 CHANNELS, REDUNDANT POWER INPUT WITH FUSES AND LED INDICATION OUTPUT RANGE: 24 VDC | SIEMENS | 6ES7650-1AD10-2XX0 | 6ES7650-1AD10-2XX0 | 3 | Pcs | 225
335 | FLCIPMX | DO 16 MTA MODULE | SIEMENS | 6ES7650-1AD11-2XX0 | 6ES7650-1AD11-2XX0 | 15 | Pcs | 255
336 | siemens | SIEMENS SIMATIC PCS7, RED., DO MTA MARSHALLING TERMINATION ASSEMBLY FOR REDUNDANT CONNECTION OF ET200M MODULE 6ES7322-8BH01-0AB0, 16 CHANNELS, REDUNDANT POWER INPUT WITH FUSES AND LED INDICATION OUTPUT RANGE: 24 VDC | SIEMENS | 6ES7650-1AD11-2XX0 | 6ES7650-1AD11-2XX0 | 29 | Pcs | 225
337 | FLCIPMX | PCS7 Redundancy Bundle | SIEMENS | 6ES7656-8EM34-1BF1 | 6ES7656-8EM34-1BF1 | 3 | Pcs | 34325
338 | siemens | Simatic PCS 7 Industrial Workstation IPC647C. Intel Core I7-610E (2C/4T, 2,53 GHz, 4MB Cache, TB VT-X VT-D, EM64-T) ES/OS Single Station, Raid1, (2 x 500 GB< HDD SATA) Internally Mounted: 0,5 G Vibration, 5 G Shock: 8 GB DDR3 SDRAM ( 2 x 4 GB) DIMM Dual Channel: Industrial Ethernet (CP1623) PCS 7 V8,0 SP1 PRE-Installed Windows 7 Ultimate. MUI (EN/GE/FR/SP/CH) 64 BIT W/O EXTENSION 110/230V Industr, Power Supply PS Cord EUROPE LKZ : DE | SIEMENS | 6ES7660-1AC31-1CA0 | 6ES7660-1AC31-1CA0 | 1 | Unit | 5405
339 | siemens | S7/M7 CABLE salve for point to point connection Rs422 15-pole submin. D Pins, 5M lengthLKZ:HU | SIEMENS | 6ES7902-3AB00-0AA0 | 6ES7902-3AB00-0AA0 | 1 | Pcs | 121
340 | FLCIPMX | CABLE WITH FRONTCONNECTOR | SIEMENS | 6ES7922-3BD01-0AM0 | 6ES7922-3BD01-0AM0 | 20 | Pcs | 107
341 | siemens | SEIMENS CABLE WITH FRONT CONNECTOR FOR SIMATIC S7-300 40PIN (6ES7392-1AM00-0AA0) TO 25PIN D-SUB MALE FOR ET200M, 8m | SIEMENS | 6ES7922-3BJ00-0AT0 | 6ES7922-3BJ00-0AT0 | 19 | Pcs | 154
342 | FLCIPMX | CABLE WITH FRONTCONNECTOR | SIEMENS | 6ES7922-3BJ00-0AT0 | 6ES7922-3BJ00-0AT0 | 20 | Pcs | 123
343 | FLCIPMX | BACK-UP BATTERY | SIEMENS | 6ES7971-0BA00 | 6ES7971-0BA00 | 15 | Pcs | 10
344 | siemens | Simatic DP, Bus Connector for Profibus up to 12 Mbit/s 90 degree abgle outgoinkg cable 15.8x35.6 MM (WXHXD) terminat resist isolat function with out PG socket | SIEMENS | 6ES7972-0BA12-0XA0 | 6ES7972-0BA12-0XA0 | 1 | Pcs | 58
345 | FLCIPMX | BUS CONNECTOR FOR PROFIBUS | SIEMENS | 6ES7972-0BA52-0XA0 | 6ES7972-0BA52-0XA0 | 11 | Pcs | 37
346 | siemens | Simatic DP bus Connector for profibus up to 12 MBIT/S 90 degree angle cable outlet, 15,8 x 64 x 35.6 mm (WXHXD) terminatiresist with isolat, fuction, with PG socket | SIEMENS | 6ES7972-0BB12-0XA0 | 6ES7972-0BB12-0XA0 | 3 | Pcs | 76
347 | FLCIPMX | BUS CONNECTOR FOR PROFIBU | SIEMENS | 6ES7972-0BB61-0XA0 | 6ES7972-0BB61-0XA0 | 5 | Pcs | 48
348 | siemens | DP, RS485 RESISTOR FOR TERMINATING PROFIBUS-/MPI-NETWORKS | SIEMENS | 6ES7972-0DA00-0AA0 | 6ES7972-0DA00-0AA0 | 14 | Pcs | 50
349 | FLCIPMX | OPTICAL LINK MODULE | SIEMENS | 6GK1503-2CC00 | 6GK1503-2CC00 | 2 | Pcs | 1091
350 | siemens | PROFIBUS OLM/G12 V4.0 OPTICAL LINK MODULE W. 1 RS485 AND 2 GLASS-FOC-INTERFACES (4 BFOC-SOCKETS) FOR STANDARD DISTANCES UP TO 2850 M, WITH WITH SIGNAL. CONTACT AND MEASURING OUTPUT | SIEMENS | 6GK1503-3CB00 | 6GK1503-3CB00 | 4 | Pcs | 569
351 | FLCIPMX | SCALANCE X204-2LD | SIEMENS | 6GK5204-2BC10-2AA3 | 6GK5204-2BC10-2AA3 | 6 | Pcs | 1443
352 | FLCIPMX | SCALANCE X208 | SIEMENS | 6GK5208-0BA10-2AA3 | 6GK5208-0BA10-2AA3 | 8 | Pcs | 492
353 | FLCIPMX | CP 443-1 COMMUNICATIONS PROCESSOR | SIEMENS | 6GK7443-1EX20-0XE0 | 6GK7443-1EX20-0XE0 | 8 | Pcs | 1595
354 | stahl | Transmitter supply unit with output 0/4mA | Stahl | 9160/13-10-11 | 9160/13-10-11 | 1 | Pc | 115
355 | stahl | Transmitter Supply Unit | Stahl | 9160/19-10-11 | 9160/19-10-11 | 1 | Pcs | 183
356 | stahl | Transmitter Supply Unit | Stahl | 9160/23-10-11 | 9160/23-10-11 | 9 | Pcs | 221
357 | stahl | Transmitter Supply Unit | Stahl | 9160/23-11-11 | 9160/23-11-11 | 9 | Pcs | 221
358 | stahl | Isolating Repeater Output | Stahl | 9165/16-11-11 | 9165/16-11-11 | 3 | Pcs | 126
359 | stahl | Isolating Repeater Output | Stahl | 9165/16-11-61 | 9165/16-11-61 | 1 | Pc | 110
360 | stahl | Isolating Repeater Output | Stahl | 9165/26-11-11 | 9165/26-11-11 | 12 | Pcs | 207
361 | stahl | Switching Repeater | Stahl | 9170/20-11-11 | 9170/20-11-11 | 8 | Pcs | 104
362 | stahl | Digital Output | Stahl | 9175/10-16-11 | 9175/10-16-11 | 1 | Pc | 111
363 | stahl | Digital Output | Stahl | 9175/20-12-11 | 9175/20-12-11 | 1 | Pc | 160
364 | stahl | Temperature Transmitter | Stahl | 9182/20-51-11 | 9182/20-51-11 | 1 | Pc | 264
365 | stahl | Hart - Multiplexer | Stahl | 9192/32-10-10 | 9192/32-10-10 | 1 | Pc | 543
366 | Wedmuller | VSSC4 SL 24VAC/DC 0.5A | Weidmueller | 1063840000 | 1063840000 | 1270 | pcs | 18
367 | Wedmuller | PE Terminal Block, WPE 10 YG,Pack of 50 | Weidmuller | 1010300000 | 1010300000 | 12 | Pcs | 3
368 | Wedmuller | PE Terminal Block,WPE 35 YG, Pack of 25 | Weidmuller | 1010500000 | 1010500000 | 4 | Pcs | 5
369 | Wedmuller | Feed Through Terminal Block, WDU 2.5 Blue,Pack of 100 | Weidmuller | 1020080000 | 1020080000 | 430 | Pcs | 1
370 | Wedmuller | Double Levei Terminal Block, WDK 2.5 Blue, Pack of 100 | Weidmuller | 1021580000 | 1021580000 | 88 | Pcs | 2
371 | Wedmuller | Diode Terminal Block,WDK 2.5 2D, Pack of 25 | Weidmuller | 1023500000 | 1023500000 | 20 | Pcs | 4
372 | Wedmuller | Feed Through Terminal Block, WDU 2.5/Tc Type K, Pack of 50 | Weidmuller | 1024100000 | 1024100000 | 84 | Pcs | 5
373 | Wedmuller | Feed Through Terminal Block,WDU 35/ZA, Pack of 40 | Weidmuller | 1028800000 | 1028800000 | 26 | Pcs | 3
374 | Wedmuller | Feed Through Teminal Block, WDU 16 beige, Pack of 50 | Weidmuller | 1028900000 | 1028900000 | 4 | Pcs | 2
375 | Wedmuller | WQV Screw in Cross Connection Link Bar,WQV 4/2, Pack of 50 | Weidmuller | 1051960000 | 1051960000 | 41 | Pcs | 1
376 | Wedmuller | WQV Screw in Cross Connection, WQV 6/10 | Weidmuller | 1052260000 | 1052260000 | 54 | Pcs | 3
377 | Wedmuller | WQV Screw in Cross Connection Link Bar,WQV 6/2, Pack of 50 | Weidmuller | 1052360000 | 1052360000 | 60 | Pcs | 1
378 | Wedmuller | WQV Screw in Cross Connection Link Bar,WQV 10/10,PAck of 20 | Weidmuller | 1052460000 | 1052460000 | 143 | Pcs | 3
379 | Wedmuller | WQV Screw in cross Connection Link Bar,WQV 16/2, Pack of 50 | Weidmuller | 1055260000 | 1055260000 | 450 | Pcs | 1
380 | Wedmuller | End Stopper, WEW 35/1, Pack of 50 | Weidmuller | 1059000000 | 1059000000 | 16 | Pcs | 2
381 | Wedmuller | Disconnect Terminal Block,WDK 2.5/TR DU, Pack of 50 | Weidmuller | 1247290000 | 1247290000 | 111 | Pcs | 2
382 | Wedmuller | Terminal Markers, DEK 8 Neutral Neutral, Pack of 500 | Weidmuller | 1277060000 | 1277060000 | 7 | Boxes | 1
383 | Wedmuller | Terminal Markers, WS 10/5 MC Neutral, Pack of 720 | Weidmuller | 1365000000 | 1365000000 | 28 | Boxes | 1
384 | Wedmuller | Disconnect Terminal Block,ZTR 2.5 Blue, Pack of 100 | Weidmuller | 1608690000 | 1608690000 | 55 | Pcs | 2
385 | Wedmuller | Wire label Marker, WS 12/5 MC Neutral, Pack of 720 | Weidmuller | 1609860000 | 1609860000 | 720 | Pcs | 1
386 | Wedmuller | Wire label Marker, WS 15/5 Neutral, Pack of 480 | Weidmuller | 1609880000 | 1609880000 | 1440 | Pcs | 1
387 | Wedmuller | Wire label Marker, WS 10/5 MC Neutral, Pack of 720 | Weidmuller | 1635000000 | 1635000000 | 2880 | Pcs | 1
388 | Wedmuller | Label Carrier (PTL) WKS 11/54 WEIS, Pack of 200 | Weidmuller | 1646461044 | 1646461044 | 1368 | Pcs | 1
389 | Wedmuller | Wire label Marker, TM-I-20 Neutral, Pack of 400 | Weidmuller | 1680411044 | 1680411044 | 1200 | Pcs | 1
390 | Wedmuller | ZQV plug in cross connection Link Bar, ZQV 2.5/50 pack of 12 | Weidmuller | 1697540000 | 1697540000 | 20 | Pcs | 9
391 | Wedmuller | Fuse Holder with Terminal WTR 2.5/SI Beige (25/Box) | Weidmuller | 1763940000 | 1763940000 | 768 | Sets | 3
392 | Wedmuller | ZQV plug in Cross Connection Link Bar,ZQV 2.5N 1/4-2 SW Pack of 60 | Weidmuller | 1784270000 | 1784270000 | 540 | Pcs | 1
393 | Wedmuller | ZQV plug in Cross Connection Link Bar,ZQV 2.5N 1/4-2 RT Pack of 60 | Weidmuller | 1784280000 | 1784280000 | 540 | Pcs | 1
394 | Wedmuller | Disconnect Terminal Block,ZTR 2.5 Beige, Pack of 100 | Weidmuller | 1831280000 | 1831280000 | 1643 | Pcs | 2
395 | Wedmuller | End Plate Cover, WAP WSI 4/2 Black, Pack of 50 | Weidmuller | 1880450000 | 1880450000 | 223 | Pcs | 3
396 | Wedmuller | Screw Connection, MK 3/10/E, Pack of 25 | Weidmuller | 7906190000 | 274620000 | 3 | Pcs | 4
397 | Wedmuller | Fuse Holder SIHA 3/G20 Beige (50/Box) | Weidmuller | 7921560000 | 7921560000 | 725 | Pcs | 2
398 | Wedmuller | Termination Board Module, RS S025B UNC LPK2 | Weidmuller | 8155620000 | 8155620000 | 17 | Pcs | 28
399 | Wedmuller | Microseries 1 Change over contact 24VDC MRS24VDC 1Co, Pack of 10 | Weidmuller | 8533640000 | 8533640000 | 8 | Pcs | 12
400 | Wedmuller | Diode Module, CP DM 10, | Weidmuller | 8710620000 | 8710620000 | 1 | Unit | 47
401 | Wedmuller | Relay Set, RCIKIT,24 VDC 1 CO LED, Pack of 10 | Weidmuller | 8871000000 | 8871000000 | 12 | Pcs | 8
402 | Wedmuller | Power Suply Unit, CP M SNT 250W,24V,10 A | Weidmuller | 8951360000 | 8951360000 | 1 | Unit | 125
403 | Wedmuller | Locking foot (Left Version) 20pcs/Pkt | Weidmuller | 119660000 | 119660000 | 96 | Pcs | 1
404 | Wedmuller | Intermediate piece (20pcs/Pkt) ZW-25RS | Weidmuller | 126160000 | 126160000 | 94 | Pcs | 1
405 | Wedmuller | Locking foot (Right Version) 20pcs/Pkt | Weidmuller | 126260000 | 126260000 | 80 | Pcs | 1
406 | Wedmuller | G-Fuse Cartridge,5x20mm Fuse,G20/1.00A/F,Pack of 10 | Weidmuller | 0430700000 | 0430700000 | 971 | Pcs | 1
407 | Wedmuller | Fuse Holder Terminal Block SAKS 2/35 (500V 25A) | Weidmuller | 136870000 | 0136870000 | 16 | Pcs | 7
408 | Wedmuller | Disconnect Terminal Block, SAKR/35 Beige,Pack of 100 | Weidmuller | 172160000 | 172160000 | 83 | Pcs | 2
409 | Wedmuller | Disconnect Terminal Block, SAKR/35 Blue,Pack of 100 | Weidmuller | 172180000 | 172180000 | 85 | Pcs | 2
410 | Wedmuller | Locking foot (Intermediate foot) 20pcs/Pkt | Weidmuller | 213760000 | 213760000 | 60 | Pcs | 1
411 | Wedmuller | Multipin terminal strip, Single- and multi-pole terminal strip, Rated cross-section: 2.5 mm², Screw connection, Direct mounting MK 3/12 Terminal | Weidmuller | 243520000 | 243520000 | 8 | Pcs | 4
412 | Wedmuller | Multipin terminal strip, Single- and multi-pole terminal strip, Rated cross-section: 2.5 mm², Screw connection, Direct mounting MK 3/10 | Weidmuller | 274620000 | 274620000 | 28 | Pcs | 3
413 | Wedmuller | Screwable QV, 2Pole,Q 2 AKZ4SS, Pack of 100 | Weidmuller | 369000000 | 0369000000 | 200 | Pcs | 1
414 | Wedmuller | Screwable QV, 3Pole,Q3 4AKZSS, Pack of 100 | Weidmuller | 369100000 | 0369100000 | 900 | Pcs | 1
415 | Wedmuller | Screwable QV, 2Pole,Q 10 AKZ4SS, Pack of 50 | Weidmuller | 369300000 | 0369300000 | 175 | Pcs | 3
416 | Wedmuller | Ceramic Fuse 250mA (G.20/0.25A/F) (10/Box) | Weidmuller | 430500000 | 0430500000 | 5550 | Pcs | 1
417 | Wedmuller | HP 2 ADP2 Beige | Weidmuller | 485660000 | 485660000 | 20 | Pcs | 1
418 | Wedmuller | Earth Terminal Block EK 10/35 | Weidmuller | 661360000 | 661360000 | 9 | Pcs | 3
419 | Wedmuller | Fuse Holder, SIHA 1/G20, Pack of 25 | Weidmuller | 9537590000 | 9537590000 | 802 | Pcs | 2
420 | Wedmuller | Disconnect Terminal Block WTR 2.5 Beige Old | Weidmuller | 1011100000 | 1011100000 | 28 | Pcs | 2
421 | Wedmuller | Disconnect Terminal Block WTR 2.5 Old Yellow | Weidmuller | 1011120000 | 1011120000 | 54 | Pcs | 2
422 | Wedmuller | Disconnect Terminal Block WTR 2.5 Old Blue | Weidmuller | 1011180000 | 1011180000 | 18 | Pcs | 2
423 | Wedmuller | Feed Through Terminal Block WDK 2.5V | Weidmuller | 1022300000 | 1022300000 | 190 | Pcs | 3
424 | Wedmuller | Diode Terminal Block WDK 2.5 2D | Weidmuller | 1023500000 | 1023500000 | 6 | Pcs | 4
425 | Wedmuller | Feed Through Terminal Block WDU 2.5/TC/J | Weidmuller | 1024300000 | 1024300000 | 51 | Pcs | 2
426 | Wedmuller | Feed-through terminal, Double-tier terminal, WDK 2.5/EX | Weidmuller | 1029100000 | 1029100000 | 34 | Pcs | 3
427 | Wedmuller | End Plate Cover. WAP-16-35 WTW 2.5-10 Beige | Weidmuller | 1050100000 | 1050100000 | 364 | Pcs | 1
428 | Wedmuller | End Plate Cover. WAP-16-35 WTW 2.5-10 Blue | Weidmuller | 1050180000 | 1050180000 | 200 | Pcs | 1
429 | Wedmuller | Terminal Link Bar. WQV 16/10 | Weidmuller | 1052260000 | 1052260000 | 54 | Pcs | 3
430 | Wedmuller | Terminal Link Bar. ZQV 2.5/2 (50/box) | Weidmuller | 1053660000 | 1053660000 | 5.8 | Boxes | 35
431 | Wedmuller | Terminal Link Bar. ZQV 2.5/3 (50/box) | Weidmuller | 1053760000 | 1053760000 | 25 | Pcs | 1
432 | Wedmuller | End Plate Cover. WAP-WDK 2.5 Beige | Weidmuller | 1059100000 | 1059100000 | 423 | Pcs | 1
433 | Wedmuller | End Plate Cover. WAP 2.5-10 Violet | Weidmuller | 1072210000 | 1072210000 | 538 | Pcs | 1
434 | Wedmuller | Terminal link Bar. WQV B/2 (50/Pkt) | Weidmuller | 1579010000 | 1579010000 | 169 | Pcs | 1
435 | Wedmuller | Terminal link Bar. WQV B/3 (50/Pkt) | Weidmuller | 1579020000 | 1579020000 | 193 | Pcs | 1
436 | Wedmuller | Terminal link Bar. WQV B/4 (50/Pkt) | Weidmuller | 1579030000 | 1579030000 | 21 | Pkts | 43
437 | Wedmuller | Cable Marker/Tag Holder (CLI T1-20) (200/Pkt) | Weidmuller | 1764220000 | 1764220000 | 3 | Pkts | 5
438 | Wedmuller | Fuse terminal, Rated cross-section: 4 mm², Screw connection WSI 4/2/LD | Weidmuller | 1880410000 | 1880410000 | 40 | Pcs | 6
439 | Wedmuller | End Plate Cover. WAP WSI 4/2 Black | Weidmuller | 1880450000 | 1880450000 | 198 | Pcs | 1
440 | Wedmuller | Relay Coil RCL424024 (8Amps) | Weidmuller | 4058570000 | 4058570000 | 70 | Pcs | 4
441 | Wedmuller | Terminal Link Bar QB/WSI 4/2 10 Pole (9mm) | Weidmuller | 7740000011 | 7740000011 | 20 | Pcs | 2
442 | Wedmuller | Termination Board. RSSD50BLP3R | Weidmuller | 8019920000 | 8019920000 | 10 | Pcs | 55
443 | Wedmuller | RCL 424024 Relay Set, PXS 35 socket Schroube 24Vdc/8A 250 Vac | Weidmuller | 8533771001 | 8533771001 | 17 | Pcs | 5
444 | Wedmuller | Relay Coil RCL314042 (16Amps) | Weidmuller | 8693260000 | 8693260000 | 39 | Pcs | 3
445 | Wedmuller | W-Series, Test-disconnect terminal, Rated cross-section: 2.5 mm², Screw connection WDTR 2.5 | Weidmuller | 9528070000 | 9528070000 | 13 | Pcs | 5
446 | Wedmuller | End Stopper | Weidmuller | 9540000000 | 9540000000 | 40 | Pcs | 1
447 | Wedmuller | Fuse Terminal Block, ASK 1 | Weidmuller |  |  | 9 | Pcs | 3
448 | Wedmuller | Fuse Terminal Block, WDK 2D 1R (24V) KDKS1/EN3 | Weidmuller |  |  | 30 | Pcs | 8
449 | Wedmuller | Fuse Terminal Block, WDK 2D 2R (230V) KDKS1/EN3 | Weidmuller |  |  | 5 | Pcs | 8
450 | Wedmuller | Terminal Block DLI 2.5 Beige | Weidmuller |  |  | 49 | Pcs | 2
451 | Wedmuller | End Plate Cover, WAP 4/2 Black, Pacl of 50 | Weidmuller | 1880450000 | 1880450000 | 50 | Pcs | 3
452 | Wedmuller | Diode Terminal Block DK 4D | Weidmuller |  |  | 15 | Pcs | 3
453 | Wedmuller | Diode Terminal Block WDK 2.5 with Resistor (Modified) 25/box | Weidmuller |  |  | 24 | Pcs | 9
454 | Wedmuller | Earth Terminal Block WPE 2.5 White | Weidmuller |  |  | 13 | Pcs | 2
455 | Wedmuller | Feed Through Terminal Block SAK 10/35 | Weidmuller |  |  | 10 | Pcs | 2
456 | Wedmuller | Sak 2.5/35 Beige | Weidmuller |  |  | 67 | Pcs | 1
457 | Wedmuller | Sak 2.5/35 Blue | Weidmuller |  |  | 53 | Pcs | 1
458 | Wedmuller | End Plate Cover WAP 2.5/4/6/10 Green | Weidmuller |  |  | 166 | Pcs | 1
459 | Wedmuller | End Plate Cover WAP 2.5/4/6/10 Yellow | Weidmuller |  |  | 11 | Pcs | 1
460 | Wedmuller | RCL 424024 Relay Set, PXS 35 socket Schroube 24Vdc/8A 250 Vac | Weidmuller | 8533771001 | 8533771001 | 17 | Pcs | 5
461 | Wedmuller | End Plate Cover ZAP/TW 2 Beige | Weidmuller |  |  | 61 | Pcs | 1
462 | Wedmuller | End Plate Cover ZAP/TW 2 Blue | Weidmuller |  |  | 48 | Pcs | 1
463 | Wedmuller | End Plate Cover ZAP/TW 3 Beige | Weidmuller |  |  | 98 | Pcs | 1
464 | Wedmuller | End Plate Cover. WAP-WDK 2.5 Blue | Weidmuller |  |  | 66 | Pcs | 1
465 | general | 1 1/2 300# RF Flanged Tapered Thermowell 79788 Odr/PO# 627223/1601502/SV | WIKA | J1601504 | J1601504 | 4 | Unit | 240
466 | general | Flanged Thermowell Config.EZ (79788) Ord/Po# 646697/1002358 | WIKA | No. 39408205 | No. 39408205 | 3 | Unit | 240
467 | general | Presure and Temperature Measurement No. 5231.22 So.No. 20368483/1.0 Serial No; 16015.17 | WIKA | S5551 | S5551 | 4 | Pcs | 210
468 | general | Temperature Gauge | WIKA |  |  | 1 | Pcs | 225
469 | general | YAMATAKE ModuleBase Serial No: 02159 | YAMATAKE | HD-CAOBS00 | HD-CAOBS00 | 1 | Pc | 183
470 | general | YAMATAKE Module Serial No: 04812 | YAMATAKE | HD-CAOM00 | HD-CAOM00 | 1 | Pc | 1120
471 |  | YAMATAKE ModuleBase Serial No: 05314 | YAMATAKE | HD-CHABS00 | HD-CHABS00 | 1 | Pc | 346